## Gland
Sl. No. | Main Dwg No | Main Dwg Name | OEM Part/DWG Number | Part Name | UOM | Installed Qty | Unit Rate-INR | SubTotal | Self | Sungme | Unit Weight | Installed Qty
1 | 139.066Z | Between High & Medium Pressure Seal Gland | G18.066.2Z | Gland Ring, Dwg Sl No II | Pcs | 12 | 31363.2 | 376358.4 | 270 | 240 | 20 | 12 | 0
2 | 139A.068Z(B) | IP Rear Gland | G18.068.2Z | Gland Ring, Dwg Sl No II | Pcs | 5 | 31363.2 | 156816 | 270 | 240 | 5.6 | 5 | 0
3.1 | 139A.100Z(B) | HIP Diaphragm | G18.066.2Z | Gland Ring, Dwg Sl No III | Pcs | 8 | 31363.2 | 250905.6 | 270 | 240 | 20 | 8 | 0
3.2 |  |  | G18.100.2Z | Gland Ring, Dwg Sl No III | Pcs | 9 | 31363.2 | 282268.8 | 270 | 240 | 7.2 | 9 | 0
3.3 |  |  | G18.100.1Z | Gland Ring, Dwg Sl No I | Pcs | 1 | 31363.2 | 31363.2 | 270 | 240 | 12 | 1 | 0
4.1 | 139B.067Z(B)-1 | HP Back gland | G18.067.7Z | Gland Ring, Dwg Sl No VI | Pcs | 2 | 31363.2 | 62726.4 | 270 | 240 | 5 | 2 | 0
4.2 |  |  | G18.067.6Z | Gland Ring, Dwg Sl No V | Pcs | 1 | 31363.2 | 31363.2 | 270 | 240 | 5 | 1 | 0
4.3 |  |  | G139.067.4Z | Gland Ring, Dwg Sl No IV | Pcs | 7 | 31363.2 | 219542.4 | 270 | 240 | 8.4 | 7 | 0
5 | K03.069Z (B) | LP gland | K03.069Z | Gland Ring, Dwg Sl No III | Pcs | 4 | 31363.2 | 125452.8 | 270 | 240 | 8.4 | 4 | 0
6.1 | K03.101Z (B) | LP Diaphragm AB | 136.101.1Z | Gland Ring, Dwg Sl No I | Pcs | 2 | 31363.2 | 62726.4 | 270 | 240 | 6.6 | 2 | 0
6.2 |  |  | 136.101.2Z | Gland Ring, Dwg Sl No II | Pcs | 2 | 31363.2 | 62726.4 | 270 | 240 | 6.6 | 2 | 0
6.3 |  |  | 136.101.3Z | Gland Ring, Dwg Sl No III | Pcs | 2 | 31363.2 | 62726.4 | 270 | 240 | 7.2 | 2 | 0 | 3939936
6.4 |  |  | 136.101.4Z | Gland Ring, Dwg Sl No IV | Pcs | 2 | 31363.2 | 62726.4 | 270 | 240 | 7.2 | 2 | 0
8 | Subtotal | [6 empty] | 1787702.4
9 | GST Rate 18% applicable against HSN:8406 | [6 empty] | 321786.432 |  |  |  |  | 760000
10 | Grand Total on FOR Site Basis-INR | [6 empty] | 2109488.832 |  |  |  | 1824000
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR JSPL Angul Basis. Delivery Time: 12 weeks from date of receipt of confirm PO. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 100% alongwith taxes etc against PI Basis. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## Actuator
Sl. No. | PR NO | Item Code | OEM Part/DWG Number | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Sungme | Unit Weight | Installed Qty
1.1 | N/A | N/A | ST 0.1 498.1-0RIAX/00 | Linear Electric Actuator IP67, 230 V AC, switching-off thrust 5,8 kN, max. load thrust 5 kN, operating speed 40mm/min, operating stroke 50 mm | Pcs | 20 | 62726.4 | 11290.752 | 1480343.04 | 540 | 480 | 20 | 12 | -8
1.2 | N/A | N/A | ST 0.1 498.1-0RIAX/00 | Linear Electric Actuator (5 Pcs) with a IP67, 230 V AC, switching-off thrust 5,8 kN, max. load thrust 5 kN, operating speed 40mm/min, operating stroke 50 mm with transmitter, mechanical connection according to user request - please specify + requested thread of stem, 2 additional position switches, space heater with | Pcs | 20 | 313632 | 56453.76 | 7401715.2 | 2700 | 2400 | 5.6 | 5 | -15
Note: Above are two options, kindly choose according to site requirement
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR JSPL Angul Basis. Delivery Time: 16 weeks from date of receipt of confirm PO. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 100% alongwith taxes etc against PI Basis. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## AVR
Sl. No. | PR NO | Item Code | OEM Part/DWG Number | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Emma | Unit Weight | Installed Qty
1 | N/A | N/A | AVR | Automatic Voltage Regulator (AVR) (complete euipment assembled condition) MAKE: SHANGHAI SAIAO AUTOMATION CONTROL EQUIPMENT CO. LTD | Pcs | 2 | 899130 | 161843.4 | 2121946.8 | 8500 | 8500
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR JSPL Angul Basis. Delivery Time: 10 weeks from date of receipt of confirm PO. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 100% alongwith taxes etc against PI Basis. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## Glands
Sl. No. | PR NO | Item Code | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal |  | Installed Qty
1 | N/A | N/A | LP Gland Rings with respecctive spring (complete Set) | Set | 1 | 2322000 | 417960 | 2739960 | 1372950
2 | N/A | N/A | HIP Gland Rings with respecctive spring (complete Set) | Set | 1 | 4478000 | 806040 | 5284040
3 | Total of above |  |  | in INR |  | 8024000
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR JPL Simhapuri Nellore Basis. Delivery Time: 12 weeks from date of receipt of confirm PO. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 100% alongwith taxes etc against PI Basis. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## Accumulator Spares
Sl. No. | PR NO | Item Code | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal |  | Hongda | Emma
1 | N/A | N/A | Model: NXQ-AB-10/31.5-L-E complete bladder set (each set parts listed below): a. Check ring{SF} b. Seal Ring c. Press Ring d. Bladder e. Hydraulic port f. Anti-extrusion ring g. supporting ring h. Washer i. Gas valve(Inflating valve) j. Supporting Spacer | Set | 2 | 49156.8 | 8848.224 | 116010.048 | 420 | 120 | 170
2 | N/A | N/A | Model: NXQ-AB-2.5/31.5-L-E complete bladder set (each set parts listed below): a. Check ring{SF} b. Seal Ring c. Press Ring d. Bladder e. Hydraulic port f. Anti-extrusion ring g. supporting ring h. Washer i. Gas valve(Inflating valve) j. Supporting Spacer | Set | 2 | 37452.8 | 6741.504 | 88388.608 | 320 | 100 | 145
3 | N/A | N/A | Model: NXQ-AB-40/31.5-L-E complete bladder set (each set parts listed below): a. Check ring{SF} b. Seal Ring c. Press Ring d. Bladder e. Hydraulic port f. Anti-extrusion ring g. supporting ring h. Washer i. Gas valve(Inflating valve) j. Supporting Spacer | Set | 2 | 60860.8 | 10954.944 | 143631.488 | 520 | 180 | 228
4 | Total of above |  |  | in INR |  | 232020.096
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR JPL Simhapuri Nellore Basis. Delivery Time: 12 weeks from date of receipt of confirm PO. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 100% alongwith taxes etc against PI Basis. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## Elec Act
Sl. No. | PR NO | Item Code | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Sungme | Unit Weight | Installed Qty
1 | N/A | N/A | Linear Electric Actuator Type: STO-490-22NM 230V, IP65, STD Thrust: 5KN Max Stroke: 50mm Sl No 200912167582 Make: REGADA | Pcs | 22 | 300000 | 54000 | 7788000 | 2600 | 2058
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR JSPL Angul Basis. Delivery Time: 6 weeks from date of receipt of confirm PO. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 100% alongwith taxes etc against PI Basis. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## SND Spares
Sl. No. | PR NO | Item Code | Part Name | UOM | PR Qty | Unit Rate-INR | SubTotal | Consider | Anne | Emma
1 | NA | NA | Phase Sequence Detection Module Part Number: XXJC for Electrical Actuator Type: SND-Z10-18S 100NM, 18 RPM, 415C/50Hz, 0.18KW, 4 Poles, F Ins, Duty S2-15 Make: Changzhou Power Station Auxiliary Equipment Co Ltd | Ea | 100 | 8000 | 800000 |  | 88 | 60 |  | 6000
2 | NA | NA | Extended Module (Main Control Card) Part Number: TP400-PLC for Electrical Actuator Type: SND-Z10-18S 100NM, 18 RPM, 415C/50Hz, 0.18KW, 4 Poles, F Ins, Duty S2-15 Make: Changzhou Power Station Auxiliary Equipment Co Ltd | Ea | 250 | 33500 | 8375000 |  | 338 | 290 | 270 | 72500
3 | NA | NA | Main Display board Part No: TP400-D-3 for Electrical Actuator Type: SND-Z10-18S 100NM, 18 RPM, 415C/50Hz, 0.18KW, 4 Poles, F Ins, Duty S2-15 Make: Changzhou Power Station Auxiliary Equipment Co Ltd | Ea | 50 | 16500 | 825000 |  | 178 | 150 |  | 7500
4 | Subtotal | [5 empty] | 10000000
5 | GST Rate 18% applicable against respective HSN | [5 empty] | 1800000
6 | Grand Total on FOR Site Basis-INR | [5 empty] | 11800000 | 11564000 | 4213525.12
7350474.88
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: 2- 4 weeks from date of receipt of confirm PO. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 100% within 7 days of delivery Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## C&I Spares
Sl. No. | PR NO | Item Code | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Sungme | Target | Gina- OEM | Gina-Replace
1 | N/A | N/A | ELECTRODE FOR HYDRASTEP PROCESS CONNECTION :M18 X 1.5, MODEL : DSY - 02 Make: Suzhou industrial parktianchi | Pcs | 120 | 3229 | 581.22 | 457226.4 |  |  | 3500 | 18.4615 | 18.4615
2 | N/A | N/A | HYDRASTEP INDICATOR MODEL NO: DS- 8S-19 Make: Suzhou industrial parktianchi | Pcs | 6 | 54529 | 9815.22 | 386065.32 |  |  | 60000 | 0.92308 | 0.92308
3 | N/A | N/A | COPPER WASHER FOR HYDRASTEP PROBE ID - 18.2mm, OD - 23.5mm, THICKNESS - 1.8mm | Pcs | 200 | 50 | 9 | 11800 |  |  | 75 | 3.0769 | 3.0769
4 | N/A | N/A | FLAME DETECTOR UNDER BED XHT 53 A 500 / 3B Make-XUZHOU COMBUSTION CONTROL (XCC) CHINA | Pcs | 4 | 17700 | 3186 | 83544 |  |  | 20000 | 1698.4615 | 560
5 | N/A | N/A | FLAME DETECTOR UPPER BED XHT 53 A 1400 / 3B Make-XUZHOU COMBUSTION CONTROL (XCC) CHINA | Pcs | 4 | 17700 | 3186 | 83544 |  |  | 20000 | 1698.4615 | 560
6 | N/A | N/A | HEA IGNITION TRANSFORMER,XDH-20C Make-XUZHOU COMBUSTION CONTROL (XCC) CHINA | Pcs | 2 | 56830 | 10229.4 | 134118.8 |  |  | 60000 | 1653.8462 | 430.7692
7 | N/A | N/A | SPARK ROD WITH REMOVABLE SPARK TIP,XDZ-1-2200/18 UPPER BED | Pcs | 4 | 18500 | 3330 | 87320 |  |  | 20000 | 538.4615 | 360
8 | N/A | N/A | SPARK ROD WITH REMOVABLE SPARK TIP,XDZ-1-2300/18 UNDER BED | Pcs | 4 | 18500 | 3330 | 87320 |  |  | 20000 | 538.4615 | 380
9 | N/A | N/A | SPARK ROD CONNECTING CABLE XDL-6000 Make-XUZHOU COMBUSTION CONTROL (XCC) CHINA | Pcs | 4 | 16790 | 3022.2 | 79248.8 |  |  | 20000 | 461.5385 | 153.8462
10 | N/A | N/A | FLAME SCANNER AMPLIFIER Flame Detector Module For Furnace Flame Scanner of Boiler, Model No- XHT-5, Local Display- Both Frequency &amp; Intensity,analog output for | Pcs | 4 | 178000 | 32040 | 840160 |  |  | 200000 | 615.3846 | 584.6154
11 | N/A | N/A | Pneumatic Cylinder Model GPM80x500 | Pcs | 8 | 9800 | 1764 | 92512
12 | N/A | N/A | Seal Kit For Above | Pcs | 8 | 1000 | 180 | 9440
13 | N/A | N/A | Pneumatic Cylinder Model GPM40x500 | Pcs | 8 | 9800 | 1764 | 92512
14 | N/A | N/A | Seal Kit For Above | Pcs | 8 | 550 | 99 | 5192
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR JSPL Angul Basis. Delivery Time: 8 weeks from date of receipt of confirm PO. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 100% alongwith taxes etc against PI Basis. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## MOV & Capacitor
Sl. No. | Item Code | HSN | Part Name | UOM | PR Qty | Unit Rate-INR | SubTotal | Consider | Anne | Emma
1 | NA | 85030090 | Power Module for Electrical Actuator Type: SND-Z10-18S 100NM, 18 RPM, 415C/50Hz, 0.18KW, 4 Poles, F Ins, Duty S2-15 Make: Changzhou Power Station Auxiliary Equipment Co Ltd | Ea | 100 | 12777.6 | 1277760 | 110 | 120 | 60
2 | NA | 85322990 | AC capacitor Model No: CJ48-2-1000V-0.22UF Make: Shanghai, China Application: For Automatic Voltage Regulator | Ea | 100 | 1161.6 | 116160 | 10 | 3 | 290
3 | NA | 85030090 | CARD, ELECTRONIC; TYPE: MAIN PCB, FUNCTION: ACTUATOR MAIN PCB PART NO 17 DRG NO-3100-000 ACTUATOR TYPE- 30AI MAKESHANGHAI INSTRUMENT AUTOMATION CO LTD, CURRENT: 0.5A, POTENTIAL: 415V; P/N: 17 F/ACTUATOR,Mnfr: SHANGHAI AUTOMATION INSTRUMENTATION CO LTD | Ea | 15 | 42042 | 630630 | 385 | 120 | 60
4 | NA | 85030090 | CARD, ELECTRONIC; TYPE: POWER CARD WITH TRANSFORMER, FUNCTION: ACTUATOR MAIN PCB PART NO 19 DRG NO-3100-000 ACTUATOR TYPE- 30AI MAKESHANGHAI INSTRUMENT AUTOMATION CO LTD, CURRENT: 0.5A, POTENTIAL: 415V; P/N: 19 F/ACTUATOR,Mnfr: SHANGHAI AUTOMATION INSTRUMENTATION CO LTD | Ea | 15 | 32760 | 491400 | 300 | 120 | 60
5 | NA | 85030090 | KNOB, SELECTION/ON & OFF; TYPE: KNOB PART NO- 14 & 15 DRG NO-3100-000 ACTUATOR TYPE- 30AI MAKESHANGHAI INSTRUMENT AUTOMATION CO LTD, CURRENT: 0.5A, POTENTIAL: 415V; P/N: 19 F/ACTUATOR,Mnfr: SHANGHAI AUTOMATION INSTRUMENTATION CO LTD | Ea | 20 | 1528.8 | 30576 | 14 | 120 | 60
6 | NA | 85030090 | CARD, ELECTRONIC; TYPE: FEEDBACK CARD WITH Gear mechanism(include 7), FUNCTION: ACTUATOR FEEDBACK MECHANISM, PN 6& 7 DRG NO-3100-000 ACTUATOR TYPE- 30AI MAKESHANGHAI INSTRUMENT AUTOMATION CO LTD, CURRENT: 0.5A, POTENTIAL: 415V; P/N: 6&7 F/ACTUATOR,Mnfr: SHANGHAI AUTOMATION INSTRUMENTATION CO LTD | Ea | 6 | 9828 | 58968 | 90 | 120 | 60
7 | Subtotal | [5 empty] | 2605494
8 | GST Rate 18% applicable against respective HSN | [5 empty] | 468988.92
9 | Grand Total on FOR Site Basis-INR | [5 empty] | 3074482.92 | 3012993.2616 | 4213525.12
-1200531.8584
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: 6 to 8 weeks from date of receipt of confirm PO. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 30% advance with PO & balance against material readiness at OEM works. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## LVDT & Limit switch
Sl. No. | PR NO | Item Code | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Emma | Dynamic | Installed Qty
1 | N/A | N/A | LVDT, Make Shizhong Model No: HL-3-100-15 Range: 0 - 100 mm, SL.NO. 104792 | Pcs | 10 | 36000 | 6480 | 424800 | 35464 | 310 | 37449
2 | N/A | N/A | LVDT, Make Shizhong Model No: HL-3-150-15 Range: 0 - 150 mm, SL.NO. 067683 | Pcs | 4 | 41000 | 7380 | 193520 | 40040 | 350 | 42579
3 | N/A | N/A | LVDT, Make Shizhong Model No: TDZ-1-H Range: 0 - 60 mm, SL.NO. 068081 | Pcs | 10 | 36000 | 6480 | 424800 | 40040 | 350 | 37449
4 | N/A | N/A | Limit switches, Model : D4A-3110N Make : OMRON, NEMA A 600,2A,125VAC Receptacle box : G 1/2 conduit (SPDT, double-break) Switch Box :SPDT, double-break, without indicator Head : Top plunger, roller | Pcs | 15 | 7200 | 1296 | 127440 |  | SR Trading 5189
5 | N/A | N/A | Limit switches Model : WLD2 Make : OMRON, NEMA A 600 2A,250VAC, 2A 48V DC | Pcs | 15 | 2190 | 394.2 | 38763 |  | SR Trading 1254
6 | N/A | N/A | QCNRV LIMIT SWITCHES ASSEMBLY E4-MEC 4P SWITCHES, M/Y 20090518, P/N 258255, SWITCH BOX E4-MEC 4 PC | Pcs | 6 |  | 0 | 0
7 | N/A | N/A | QCNRV SOV'S ID NR 3803(COIL), 230 V , 18 VA , 40-60 HZ , ID NO 2401103(VALVE ASSEMBLY), Norgen | Pcs | 10 |  | 0 | 0
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: Item 1: 2- 4 weeks & Item 2: 6 to 8 weeks from date of receipt of confirm PO. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 30% advance with PO & balance against material readiness at OEM works. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## DEH Spares
Sl. No. | PR NO | Part | Part Name | Model No | HTC Part Number | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Anne | Target | Ashok
1 | N/A | N/A | Reset device- Solenoid Valve | E321F32/4270/DC220V | 135.324Z | Pcs | 5 | 76500 |  | 382500 |  | 475 | 93840 | 88000
2 | N/A | N/A | Throttle Valve | SHV20 | 135.324Z | Pcs | 3 | 45500 |  | 136500 |  | 110 | 56040 | 50500
3 | N/A | N/A | Throttle Orifice | Q235-AF | 70.324.015 | Pcs | 10 | 6000 |  | 60000 |  | 11 | 7440 | 7200
4 | N/A | N/A | Washer | M20,M22,M36 | 00.000.069 | Pcs | 10 | 700 |  | 7000 |  | 29.5 | 840 | 780
5 | N/A | N/A | Washer | M6 | GB93-87 | Pcs | 10 | 200 |  | 2000 |  | 0.5 | 264 | 250
6 | N/A | N/A | DEH Main Oil Pump Make-Harbin Turbine Company ltd, China, Working Pressure-14 Mpa, Working Temperature-80 Deg.C |  |  | Pcs | 2 | 480000 |  | 960000 |  | 2580 | 560160 | 528000
7 | N/A | N/A | Diaphragm Valve |  | K10.790Z(B) | Pcs | 2 | 1100000 |  | 2200000 |  | 16666 | 1205400 | 1144560
8 | N/A | N/A | HP Startup Oil Pump | SNH210R40E6.7 |  | Pcs |  | 900000 | 162000 | 0 |  |  | 601538 | 598000
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: Item 1 to 5-within 6 weeks & Item 6 to 8: 8-10 weeks from date of receipt of advance. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 30% advance with PO & balance against material readiness at OEM works. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## Metrix
Sl. No. | PR NO | Part No | Part Name | Description | Make | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Mohit PVTM | Target | Ashok
1 | N/A | TM0180-08-00-09-05-02 | Proximity Probe | Standard 8mm Probe, M10×1,with armor, Unthreaded Length 0mm, Case Length 90mm, Total Length 0.5m, Connector Type | PVTVM Inc | Pcs | 40 | 32000 | 5760 | 1510400 |  | 24752 | 93840 | 88000
2 | N/A | TM0181-045-00 | Extension Cable | Extension Cable 4.5meter without armor | PVTVM Inc | Pcs | 40 | 22000 | 3960 | 1038400 |  | 15691 | 56040 | 50500
3 | N/A | TR4101-A03-E00-G00-S00 | Radial Vibration Loop Powered Transmitter | Full Scale 0-10mils (250um)pk-pk, For TM0180, 8mm Probe, 5m Cable, DIN rail mounting, CE | PVTVM Inc | Pcs | 40 | 76000 | 13680 | 3587200 |  | 56355 | 7440 | 7200
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: 4 to 6 weeks from date of receipt of advance. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 40% advance with PO & balance against material readiness at OEM works. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## Feeder Controller
Sl. No. | PR NO | Item Code | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Anne
1 | N/A | N/A | Feeder Controller, Type: 2105 | Pcs | 2 | 243936 | 43908.48 | 575688.96 | 2100 | 1900
2 | N/A | N/A | Coal Feeder Controller, Type: YE58-A | Pcs | 2 | 209088 | 37635.84 | 493447.68 | 1800 | 1468
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: 4 to 6 weeks from date of receipt of advance. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 40% advance with PO & balance against material readiness at OEM works. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## Switches
Sl. No. | PR NO | Part No | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Anne
1 | N/A | AD11-25/40-1G | Push Button switch, 240V AC | Pcs | 30 | 871.2 | 156.816 | 30840.48 | 7.5 | 1.8
2 | N/A | LA38-11D/301 | Push Button switch, 240V AC | Pcs | 30 | 871.2 | 156.816 | 30840.48 | 7.5 | 1.8
3 | N/A | ZB2-BE101C | Switch, 240V AC, 3a | Pcs | 10 | 1568.16 | 282.2688 | 18504.288 | 13.5 | 1.8
4 | N/A | 2105 | Feeder Controller, Type: 2105 | Pcs | 4 | 243936 | 43908.48 | 1151377.92 | 2100 | 1900
5 | N/A | YE58-A | Coal Feeder Controller, Type: YE58-A | Pcs | 4 | 209088 | 37635.84 | 986895.36 | 1800 | 1468
6 | N/A | LPS-100 Kg | Load Cell, Make Vishay Type: Celtron | Pcs | 18 | 15000 | 2700 | 318600
7 | N/A | N/A | Tacho generator FOR BOILER COAL FEEDER INPUT : 14.98 V DC OUTPUT:12.5 V DC DIMENSION: 12 mm dia with pitch 0.5 mm & 27 mm height | Pcs | 20 | 17688 | 3183.84 | 417436.8 | 150 | 105
8 | N/A | H3Y-2 | Timer relay with base | Pcs | 10 | 4500 | 810 | 53100
9 | N/A | Z-15GW22-B | Microswitch (Omron make) | Pcs | 30 | 1550 | 279 | 54870
10 | N/A | LA38-1 | Slector switch | Pcs | 30 | 850 | 153 | 30090
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: 4 to 6 weeks from date of receipt of advance. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 40% advance with PO & balance against material readiness at OEM works. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## Catridge
Sl. No. | Make | Part No | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Anne | Emma | Nordfluid
1 | Eaton Vicker | SV-13-12V-0-0-00-H016.147 1012 | Screw in Cartridge valve | Pcs | 8 | 20908.8 | 3763.584 | 197379.072 | 180 | 1240 | 155 | 78
2 | Parker | GS020600V 1048 WD020600V | POPPET valve | Pcs | 20 | 55756.8 | 10036.224 | 1315860.48 | 480 |  | 104
3 | Eaton Vicker | SV4-10V-0-0-00 1009 | Screw in Cartridge valve | Pcs | 8 | 20908.8 | 3763.584 | 197379.072 | 180 |  | 140
4 | Eaton Vicker | SV-13-12V-0-0-00-H016.147M 939 | Screw in Cartridge valve | Pcs |  | 20908.8 | 3763.584 | 0 | 180 |  |  | 78
5 | Eaton Vicker | 300AA00126A | COIL, MCSCH230AG000010 | Pcs | 5 | 8712 | 1568.16 | 51400.8 | 75 |  | 107 | 27
6 | Eaton Vicker | 300AA00278A | COIL, MCSCJ240AG000010 | Pcs | 5 | 8712 | 1568.16 | 51400.8 | 75 |  | 107 | 27
3 | Eaton Vicker | SV4-10V-0-0-00 1118 | Screw in Cartridge valve | Pcs |  | 20908.8 | 3763.584 | 0 | 180
8 | Parker | 6002253 | Coil PARKER CCP 230M 230VDC 19W | Pcs | 15 | 12000 | 2160 | 212400 |  | 75 | 95
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: 4 to 6 weeks from date of receipt of advance. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 40% advance with PO & balance against material readiness at OEM works. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## DEH Control System
Sl. No. | Make | Part No | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Emma | Nordfluid
1 | Beijing Guodian Zhishen Control Technology Co. Ltd. | IPC | IPC System OS upgrade to latest version of WINDOWS with preinstalled software & settings- English language Beijing Guodian Zhishen Control Technology Co. Ltd. | Ea | 2 | 871200 | 156816 | 2056032 | 7500 | 6500
Note: Order shall clearely mention that balance quantity of 06 Numbers (for 03 units) shall be processed with us post completion of above supplies .
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: 6 to 8 weeks from date of receipt of advance. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 50% advance with PO & balance against material readiness at OEM works. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## MSV Spares
Sl. No. | Main Drawing No | Dwg Sl No | Item Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Sungme | Anne |  | Andavar Engg | Ridhi-USD | Harbin Indi | Ridhi-USD
1 | HP MSV &CV Spares Main Drawing No: 136.301Z(B)-2 | 1 | Cylindrical pin | Ea | 12 | 1140.48 | 205.2864 | 16149.1968 | 9.6 | 8 | 15 | 32 | 1500 | 36 | 5980 | 31.25
2 |  | 7 | Plug screw | Ea | 12 | 6415.2 | 1154.736 | 90839.232 | 54 | 45 | 8.5 | 17 | 8500 | 20 | 3250 | 17
3 |  | 11 | MSV Seat | Ea | 4 | 277992 | 50038.56 | 1312122.24 | 2340 | 1950 | 3550 | 3122 | 340000 | 3587 | 611000 | 3085
4 |  | 14 | Gland sleeve | Ea | 128 | 4989.6 | 898.128 | 753629.184 | 42 | 35 | 64 | 42 | 6000 | 48 | 8060 | 41.3
5 |  | 15 | Isolation sleeve | Ea | 16 | 4989.6 | 898.128 | 94203.648 | 42 | 35 | 70 | 42 | 9500 | 48 | 8060 | 41.3
6 |  | 16 | CV Stem steeve | Ea | 8 | 90525.6 | 16294.608 | 854561.664 | 762 | 635 | 1160 | 848 | 340000 | 957 | 163020 | 823
7 |  | 17 | CV Stem | Ea | 8 | 69141.6 | 12445.488 | 652696.704 | 582 | 485 | 500 | 530 | 296000 | 600 | 101920 | 600
8 |  | 23 | Liner | Ea | 8 | 7840.8 | 1411.344 | 74017.152 | 66 | 55 | 90 | 74 | 54000 | 85 | 13390 | 85
9 |  | 28 | Pins | Ea | 30 | 427.68 | 76.9824 | 15139.872 | 3.6 | 3 | 0.9 | 21 | 1000 | 24 | 4160 | 24
10 |  | 36 | Valve seat | Ea | 8 | 104068.8 | 18732.384 | 982409.472 | 876 | 730 | 960 | 742 | 310000 | 840 | 134160 | 840
11 |  | 37 | Valve seat | Ea | 8 | 104068.8 | 18732.384 | 982409.472 | 876 | 730 | 960 | 742 | 440000 | 840 | 134160 | 840
12 | RSV and IV valve spares Main Drawing No: 136.309Z(B)-2 | 1 | Valve seat | Ea | 2 | 279417.6 | 50295.168 | 659425.536 | 2352 | 1960 | 2250 | 2758 |  | 3110 | 529750 | 3110
13 |  | 3 | Valve stem | Ea | 8 | 94089.6 | 16936.128 | 888205.824 | 792 | 660 | 833 | 848 |  | 957 | 163020 | 957
14 |  | 4 | Pin | Ea | 16 | 1140.48 | 205.2864 | 21532.2624 | 9.6 | 8 | 10 | 11 |  | 12 | 2080 | 12
15 |  | 7 | Keys | Ea | 16 | 2138.4 | 384.912 | 40372.992 | 18 | 15 | 60 | 64 |  | 72 | 12350 | 72
16 |  | 10 | Screw | Ea | 16 | 2566.08 | 461.8944 | 48447.5904 | 21.6 | 18 | 30 | 64 |  | 72 | 12350 | 72
17 |  | 11 | Sleeve | Ea | 8 | 104068.8 | 18732.384 | 982409.472 | 876 | 730 | 1040 | 636 |  | 720 | 122200 | 720
18 |  | 12 | Pin | Ea | 16 | 1140.48 | 205.2864 | 21532.2624 | 9.6 | 8 | 2.3 | 21 |  | 24 | 4160 | 24
19 |  | 13 | Plug screw | Ea | 26 | 1710.72 | 307.9296 | 52484.8896 | 14.4 | 12 | 12 | 8 |  | 10 | 1690 | 10
20 |  | 22 | Pin | Ea | 16 | 2138.4 | 384.912 | 40372.992 | 18 | 15 | 16 | 53 |  | 60 | 10140 | 60
21 |  | 26 | Valve stem | Ea | 4 | 65577.6 | 11803.968 | 309526.272 | 552 | 460 | 533 | 594 |  | 670 | 114140 | 670
22 |  | 28 | valve stem sleeve | Ea | 8 | 112622.4 | 20272.032 | 1063155.456 | 948 | 790 | 1215 | 742 |  | 840 | 142610 | 840
23 |  | 30 | Valve seat | Ea | 4 | 277992 | 50038.56 | 1312122.24 | 2340 | 1950 | 2100 | 3394 |  | 3826 | 651950 | 3826
24 |  | 35 | Sleeve | Ea | 8 | 3564 | 641.52 | 33644.16 | 30 | 25 | 1000 | 127 |  | 145 | 24440 | 145
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: 4 to 6 weeks from date of receipt of advance. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 40% advance with PO & balance against material readiness at OEM works. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## FGD
Sl. No. | Make | Part No | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Emma | Nordfluid
1 | SHANGHAI SAIAO AUTOMATION CONTROL EQUIPMENT CO.LTD | FGD | FIELD GROUNDING DETECTOR | Ea | 1 | 1418844 | 255391.92 | 1674235.92 | 13300 | 13400
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: 16 to 18 weeks from date of receipt of advance. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 50% advance with PO & balance against material readiness at OEM works. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## ESp Cards
Sl. No. | Make | Part No | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Emma | Anne | Inch
1 | HANGZHOU TIANMING | TM-II-CY.PCB | ESP PCB CARDS | Ea | 10 | 29500 | 5310 | 348100 | 268 | 275 | 268 | 29923.02
2 | HANGZHOU TIANMING | TM-II-CF.PCB | ESP PCB CARDS | Ea | 10 | 24974.4 | 4495.392 | 294697.92 | 215 | 210 | 358 | 59499.18
3 | HANGZHOU TIANMING | MTC500-14 | Thyristor | Ea | 10 | 8000 | 1440 | 94400 | 76 |  | 76 | 8033.24
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: 6 to 8 weeks from date of receipt of advance. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 50% advance with PO & balance against material readiness at OEM works. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## DEH Module
Sl. No. | Make | Part No | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Emma | Nordfluid
1 | Beijing Guodian Zhishen Control Technology Co. Ltd. | EDPF-AI16(ma) | Analog input module | Ea | 2 | 344520 | 62013.6 | 813067.2 | 2900 | 2660
2 |  | Base | I/O module base | Ea | 4 | 41580 | 7484.4 | 196257.6 | 350 | 330
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: 6 to 8 weeks from date of receipt of advance. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 50% advance with PO & balance against material readiness at OEM works. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## EMRV
Sl. No. | ITEM | Part No | DESCRPTION/MAKE | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Anne
1 | CONTROLLER | XMT605 | HBKJ | Pcs | 6 | 6388.8 | 1149.984 | 45232.704 | 55 | 35
2 | RECTIFIER | MDQ 60H16 | REDLY | Pcs | 10 | 2323.2 | 418.176 | 27413.76 | 20 | 12
3 | INDICATING LAMP | AD16-22D 220VDC | APT MAKE, BLUE-15, | Pcs | 15 | 580.8 | 104.544 | 10280.16 | 5 | 3
4 | INDICATING LAMP | AD16-22D 220VDC | APT MAKE, WHITE-10, | Pcs | 10 | 580.8 | 104.544 | 6853.44 | 5 | 3
5 | INDICATING LAMP | AD16-22D 220VDC | APT MAKE, RED-10 | Pcs | 10 | 580.8 | 104.544 | 6853.44 | 5 | 3
6 | INDICATING LAMP | AD16-22D 220VDC | APT MAKE, GREEN-10 | Pcs | 10 | 580.8 | 104.544 | 6853.44 | 5 | 3
7 | SELECTOR SWITCH | 800F-X10 SER.A | ALLEN BRADLEY ( NON LATCHING TYPE) | Pcs | 10 | 4646.4 | 836.352 | 54827.52 | 40 | 30
8 | PUSH BUTTON | AR22F0Y | RED-10 | Pcs | 10 | 1393.92 | 250.9056 | 16448.256 | 12 | 7
9 | PUSH BUTTON | AR22F0Y | GREEN-10 | Pcs | 10 | 1393.92 | 250.9056 | 16448.256 | 12 | 7
10 | MCB | C65H-DC | FRSCHNEIDER, C10, 220VDC, 2 POLE | Pcs | 10 | 3252.48 | 585.4464 | 38379.264 | 28 | 18
11 | MCB | C65H-DC | FRSCHNEIDER, C06, 220VDC, 1 POLE | Pcs | 10 | 2555.52 | 459.9936 | 30155.136 | 22 | 12
12 | RELAY | SERIE QR-C | RELECO, DC220V | Pcs | 10 | 4646.4 | 836.352 | 54827.52 | 40
13 | RELAY | MK2KP | OMRON | Pcs | 10 | 7898.88 | 1421.7984 | 93206.784 | 68
14 | AUX CONTACT BLOCK | LADN20 C | SCHNEIDER | Pcs | 10 | 1161.6 | 209.088 | 13706.88 | 10 | 4
15 | CONTACTOR | LC1 D12MD | SCHNEIDER | Pcs | 10 | 5227.2 | 940.896 | 61680.96 | 45 | 25
16 | COIL | MZBF-215-10 | SHENYANG SPECIAL ELECTROMAGNETIC EQUIP FACTORY 220VDC, 4.68A, 10mm STROKE | Pcs | 6 | 121968 | 21954.24 | 863533.44 | 1050 | 820
17 | RESISTORS | RX20-75 | 300Ω | Pcs | 10 | 2555.52 | 459.9936 | 30155.136 | 22 | 8
18 | CAPACITORS | CJ41-2 | 2µF±10%, 400VDC | Pcs | 12 | 580.8 | 104.544 | 8224.128 | 5 | 3
19 | LIMIT SWITCHES | YBLX-19/K | CHNT | Pcs | 12 | 929.28 | 167.2704 | 13158.6048 | 8 | 1.5
20 | SOV | SR551-RN2SDW-143 | MAKE: BELLOFRAM SR551-RN2SDW-143 | Pcs | 15 | 8131.2 | 1463.616 | 143922.24 | 70 | 52 | 43- Emma
21 | RELAY | RU4S-A220 | IDEC 6A 250VAC 6A 30VDC 220-240VAC | Pcs | 20 | 800 | 144 | 18880
22 | RELAY | RJ2S-CL-A230 | 8A 250VAC 8A 30VDC 230VAC | Pcs | 20 | 800 | 144 | 18880
23 | Push Button with Indicator | LA38-11D/301 | 240V AC, 25 Red & 25- Green | Pcs | 50 | 814 | 146.52 | 48026
24 | Indicator | AD11-25/40-1G | 240V AC, 25 Red & 25- Green | Pcs | 50 | 814 | 146.52 | 48026
25 | Switch | ZB2-BE101C | 240V AC, 3a | Pcs | 10 | 1466 | 263.88 | 17298.8
26 | Selector switch | LA38-11 | NA | Pcs | 10 | 2450 | 441 | 28910
27 | Load Cell | LS-100 Kg | Suncell | Pcs | 18 | 12777.6 | 2299.968 | 271396.224 | 110 | 68
28 | HEAT IGNITION EXCITER | XDH-20C | XCC Make | Pcs | 12 | 58080 | 10454.4 | 822412.8 | 500 | 325
29 | SPARK TUBE | XDH-20 | XCC Make | Pcs | 30 | 5227.2 | 940.896 | 185042.88 | 45 | 25
30 | Flame scanner detector Assembly | UNDER BED XHT53A500/3B | XCC Make | Pcs | 5 | 26136 | 4704.48 | 154202.4 | 220 | 191
31 | Flame scanner detector Assembly | UPPER BED XHT 53A1400/3B | XCC Make | Pcs | 5 | 26136 | 4704.48 | 154202.4 | 220 | 191
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: 4 weeks from date of receipt of advance. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 40% advance with PO & balance against material readiness at OEM works. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## Coil
Sl. No. | Make | Part No | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Anne | Nordfluid
1 | NA | UW-25 | Coil, 220V AC for SOV | Ea | 10 | 1450 | 261 | 17110 |  | 7.5
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: 6 to 8 weeks from date of receipt of advance. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 100% against PI. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## FLAME CASING
Sl. No. | Make | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Emma | Nordfluid
1 | XUZHOU COMBUSTION CONTROL (XCC) CHINA | Flame scanner detector Assembly UNDER BED XHT 53 A 500 / 3B | Ea | 10 | 26136 | 4704.48 | 308404.8 | 220 | 191
2 | XUZHOU COMBUSTION CONTROL (XCC) CHINA | Flame scanner detector Assembly UPPER BED XHT 53 A 1400 / 3B | Ea | 10 | 26136 | 4704.48 | 308404.8 | 220 | 191
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: 6 to 8 weeks from date of receipt of advance. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 100% against PI. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## Nadi Coil
Sl. No. | Make | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Anne | sales4@valconmatic.com
1 | NADI MODEL: C08T18D0P/H 220VDC | 3 WAY DIRECT ACTING SOLENOID VALVES. COMPLETE VALVE. | Ea | 8 | 31600.8 | 5688.144 | 298311.552 | 266 |  | 256.2
2 | NADI P/N: B6A220DC/E | Only Coil | Ea | 10 | 16632 | 2993.76 | 196257.6 | 140 | 125 | 138.6
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: 6 to 8 weeks from date of receipt of advance. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 100% against PI. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## Tacho Wheel
Sl. No. | Make | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Anne
1 | OEM | Tacho wheel As per existing installtion | Ea | 4 | 65340 | 11761.2 | 308404.8 | 550 | 480
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: 4 to 6 weeks from date of receipt of advance. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 100% against PI. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## SND Add
Sl. No. | Part Name | Model | Actuator Model | UOM | PR Qty | Unit Rate-INR | SubTotal |  | Anne | Inch | Inch
1 | Position sensor with cable | SND-QTJ25-1S | Electrical Actuator Type: SND-QTJ25-1S Make: Changzhou Power Station Auxiliary Equipment Co Ltd | Ea | 10 | 28096.2 | 280962 | 236.5 | 215 | 36729
2 | Torque Sensor with cable |  | Electrical Actuator Type: SND-QTJ25-1S Make: Changzhou Power Station Auxiliary Equipment Co Ltd | Ea | 10 | 12414.6 | 124146 | 104.5 | 95 | 24809
3 | Motor |  | Electrical Actuator Type: SND-QTJ25-1S Make: Changzhou Power Station Auxiliary Equipment Co Ltd | Ea | 2 | 65340 | 130680 | 550 | 550 | 52500
4 | Position sensor with cable | SND-QTJ50-0.6S | Electrical Actuator Type: SND-QTJ50-0.6S Make: Changzhou Power Station Auxiliary Equipment Co Ltd | Ea | 10 | 26789.4 | 267894 | 225.5 | 205 | 51836
5 | Torque Sensor with cable |  | Electrical Actuator Type: SND-QTJ50-0.6S Make: Changzhou Power Station Auxiliary Equipment Co Ltd | Ea | 10 | 12414.6 | 124146 | 104.5 | 95 | 34054
6 | Motor |  | Electrical Actuator Type: SND-QTJ50-0.6S Make: Changzhou Power Station Auxiliary Equipment Co Ltd | Ea | 3 | 74250 | 222750 | 625 | 625 | 52500
7 | Position sensor with cable | SND-Z10-18S | Electrical Actuator Type: SND-Z10-18S | Ea | 25 | 26789.4 | 669735 | 225.5 | 205 | 36729
8 | Torque Sensor with cable |  | Electrical Actuator Type: SND-Z10-18S | Ea | 50 | 12414.6 | 620730 | 104.5 | 95 | 18184
9 | Terminal Block with cable |  | Electrical Actuator Type: SND-Z10-18S | Ea | 0 | 9801 | 0 | 82.5 | 75
10 | Position sensor with cable | SND-Z20-18S | Electrical Actuator Type: SND-Z20-18S | Ea | 5 | 26789.4 | 133947 | 225.5 | 205 | 36729
11 | Torque Sensor with cable |  | Electrical Actuator Type: SND-Z20-18S | Ea | 5 | 18295.2 | 91476 | 154 | 140 | 24809
12 | Motor |  | Electrical Actuator Type: SND-Z20-18S | Ea | 4 | 41164.2 | 164656.8 | 346.5 | 315 | 52500
13 | Position sensor with cable | SND-Z60-18S | Electrical Actuator Type: SND-Z60-18S | Ea | 10 | 34452 | 344520 | 290 | 205 | 51836
14 | Torque Sensor with cable |  | Electrical Actuator Type: SND-Z60-18S | Ea | 10 | 26136 | 261360 | 220 | 95 | 34054
15 | Motor |  | Electrical Actuator Type: SND-Z60-18S | Ea | 10 | 26136 | 261360 | 220 | 95 | 34054
16 | Position sensor with cable | SND-180-18S | Electrical Actuator Type: SND-180-18S | Ea | 6 | 39204 | 235224 | 330 | 300 | 57865
17 | Torque Sensor with cable |  | Electrical Actuator Type: SND-180-18S | Ea | 4 | 45084.6 | 180338.4 | 379.5 | 345 | 57519
18 | Motor |  | Electrical Actuator Type: SND-180-18S | Ea | 4 | 45084.6 | 180338.4 | 379.5 | 345 | 57519
19 | Folomatic Card | Shangh-yi AIMI 30AI | Electrical Actuator Type: AIMI 30AI | Ea | 10 | 30316 | 303160 | 265 |  | 14320
20 | Single phase card | SND-Z10-18S | Phase Sequence Detection Module Part Number: XXJC for Electrical Actuator Type: SND-Z10-18S 100NM, 18 RPM, 415C/50Hz, 0.18KW, 4 Poles, F Ins, Duty S2-15 Make: Changzhou Power Station Auxiliary Equipment Co Ltd | Ea | 40 | 10067.2 | 402688 | 88 |  | 2400
21 | Display card |  | Main Display board Part No: TP400-D-3 for Electrical Actuator Type: SND-Z10-18S 100NM, 18 RPM, 415C/50Hz, 0.18KW, 4 Poles, F Ins, Duty S2-15 Make: Changzhou Power Station Auxiliary Equipment Co Ltd | Ea | 40 | 20363.2 | 814528 | 178 |  | 2400
22 | Terminal block female with cable |  | Terminal block female with cable, Make: SND Act | Ea | 40 | 9438 | 377520 | 82.5 | 75 | 2400
23 | Terminal block male with cable |  | Terminal block male with cable, Make: SND Act | Ea | 20 | 9438 | 188760 | 82.5 | 75 | 2400
24 | Subtotal | [5 empty] | 6380919.6
25 | GST Rate 18% applicable against respective HSN | [5 empty] | 1148565.528
26 | Grand Total on FOR Site Basis-INR | [5 empty] | 7529485.128
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: 2- 4 weeks from date of receipt of confirm PO. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 50% advance along with PO & balance against PI on readiness. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## APH Tubes
Sl. No. | Location | Material | Tube Size | UOM | PR Qty | Unit Rate-INR | SubTotal | Anne | TPP Boilers | Weight/Unit
1 | SA Cold | Corten/09CuPCRNiA | OD 60mmxThick 2.5 mm x Long 6850 mm | Ea | 2132 | 0 | 0 |  | NA | 25 | 7995000
2 |  | Q235-A | OD 51mmxThick 3 mm x Long 1000 mm | Ea | 3160 | 0 | 0 | 1668480 | 528 | 4 | 1896000
3 | PA Cold | Corten/09CuPCRNiA | OD 60mmxThick 4 mm x Long 6850 mm | Ea | 290 | 0 | 0 |  | NA | 39 | 1696500
4 |  | Q235-A | OD 60mmxThick 2.5 mm x Long 6850 mm | Ea | 1638 | 0 | 0 | 6676488 | 4076 | 25 | 6142500
5 |  | Q235-A | OD 51mmxThick 3mm x Long 1000 mm | Ea |  | 0 | 0 |  | 528 |  | 0
6 |  | Corten/09CuPCRNiA | OD 60mmxThick 2.5 mm x Long 6850 mm | Ea |  | 0 | 0 |  | NA |  | 0
7 | PA | Q235-A | OD 60mmxThick 2.5 mm x Long 7250 mm | Ea | 12470 | 0 | 0 | 53795580 | 4314 | 26 | 48633000
8 | SA | Q235-A | OD 60mmxThick 2.5 mm x Long 7250 mm | Ea |  | 0 | 0 | 0 | 4314 |  | 0
9 |  | 20G (Seamless) | OD 60mmxThick 4 mm x Long 7250 mm | Ea | 870 | 0 | 0 | 5670660 | 6518 | 41 | 5350500
10 | SA | Q235-A | OD 60mmxThick 2.5 mm x Long 7250 mm | Ea |  | 0 | 0 |  | 4314
11 | PA | Q235-A | OD 60mmxThick 2.5 mm x Long 7250 mm | Ea |  | 0 | 0 |  | 4314
12 |  | 20G (Seamless) | OD 60mmxThick 4 mm x Long 7250 mm | Ea |  | 0 | 0 |  | 6518
13 | PA (Hot) | Q235-A | OD 60mmxThick 2.5 mm x Long 7250 mm | Ea |  | 0 | 0 |  | 4314
14 | SA (Hot) | Q235-A | OD 60mmxThick 2.5 mm x Long 7250 mm | Ea |  | 0 | 0 |  | 4314
15 |  | 20G (Seamless) | OD 60mmxThick 4 mm x Long 7250 mm | Ea |  | 0 | 0
16 |  |  |  | Ea |  | 0 | 0
17 |  |  |  | Ea |  | 0 | 0
18 |  |  |  | Ea |  | 0 | 0
19 |  |  |  | Ea |  | 0 | 0
20 |  |  |  | Ea |  | 0 | 0
21 |  |  |  | Ea |  | 0 | 0
22 |  |  |  | Ea |  | 0 | 0
23 |  |  |  | Ea |  | 0 | 0
24 | Subtotal | [5 empty] | 0
25 | GST Rate 18% applicable against respective HSN | [5 empty] | 0
26 | Grand Total on FOR Site Basis-INR | [5 empty] | 0
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: 2- 4 weeks from date of receipt of confirm PO. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 50% advance along with PO & balance against PI on readiness. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost. | [7 empty] | gmpipetubecorp@gmail.com

## Burner Spares 2
Sl. No. | PR NO | Item Code | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Sungme | Target | Gina- OEM | Gina-Replace
1 | N/A | N/A | ELECTRODE FOR HYDRASTEP PROCESS CONNECTION :M18 X 1.5, MODEL : DSY - 02 Make: Suzhou industrial parktianchi | Pcs | 50 | 3164 | 569.52 | 186676 |  |  | 3500 | 18.4615 | 18.4615
2 | N/A | N/A | FLAME DETECTOR UNDER BED XHT 53 A 500 / 3B Make-XUZHOU COMBUSTION CONTROL (XCC) CHINA | Pcs | 4 | 17346 | 3122.28 | 81873.12 |  |  | 20000 | 1698.4615 | 560
3 | N/A | N/A | FLAME DETECTOR UPPER BED XHT 53 A 1400 / 3B Make-XUZHOU COMBUSTION CONTROL (XCC) CHINA | Pcs | 4 | 17346 | 3122.28 | 81873.12 |  |  | 20000 | 1698.4615 | 560
4 | N/A | N/A | SPARK ROD WITH REMOVABLE SPARK TIP,XDZ-1-2200/18 UPPER BED | Pcs | 4 | 28500 | 5130 | 134520 |  |  | 20000 | 538.4615 | 360
5 | N/A | N/A | SPARK ROD WITH REMOVABLE SPARK TIP,XDZ-1-2300/18 UNDER BED | Pcs | 4 | 28500 | 5130 | 134520 |  |  | 20000 | 538.4615 | 380
6 | N/A | N/A | SPARK ROD CONNECTING CABLE XDL-6000 Make-XUZHOU COMBUSTION CONTROL (XCC) CHINA | Pcs | 6 | 16454.2 | 2961.756 | 116495.736 |  |  | 20000 | 461.5385 | 153.8462
7 | N/A | N/A | FLAME SCANNER AMPLIFIER Flame Detector Module For Furnace Flame Scanner of Boiler, Model No- XHT-5, Local Display- Both Frequency &amp; Intensity,analog output for | Pcs | 4 | 174440 | 31399.2 | 823356.8 |  |  | 200000 | 615.3846 | 584.6154
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR JSPL Angul Basis. Delivery Time: 8 weeks from date of receipt of confirm PO. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 100% alongwith taxes etc against PI Basis. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## Sheet1
S No | DESCRIPTION | Qty | UOM | Rate | Amount
1 | Load Cell, LS-100 Kg, Make: Suncell | 5 | NO's | 10300 | 51500 | 68
3 | SPARK TUBE, XDH-20, XCC Make | 10 | NO's | 4120 | 41200
4 | ELECTRODE FOR HYDRASTEP PROCESS CONNECTION :M18 X 1.5, MODEL : DSY - 02 Make: Suzhou industrial parktianchi | 60 | NO's | 2060 | 123600 | 7.5
5 | Hydrastep Indicator Model No:DS-8S-19 | 2 | NO's | 41200 | 82400 | 206
6 | SPARK ROD CONNECTING CABLE XDL-6000 , Make-XUZHOU COMBUSTION CONTROL (XCC) CHINA | 12 | NO's | 9733.5 | 116802 | 60
7 | SPARK ROD, XDZ-1-2200/18, UPPER BED | 8 | NO's | 30900 | 247200
8 | SPARK ROD, XDZ-1-2300/18, UNDER BED | 8 | NO's | 30900 | 247200
| Net price |  |  |  | 909902

## RTD & LT
Sl. No. | Item & Make | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Emma
1 | Turbine Bearing RTD Make: Chinese OEM | 10 mtrs long Teflon insulated &overall SS Braided flexible cable Bulb Dia:06mm Bulb length: 18mm outer hallow moveable tube OD dia: 06mm | Ea | 20 | 4752 | 855.36 | 112147.2 | 40 | 28
2 | MOT level Guage cum transmitter Make: Chinese OEM | LEVEL TRANSMITTER FOR MOT [LT CUM GAUGE] HEIGHT=1500 mm [-40 TO 110 CM ] TN < = 1.0 MPA, T < = 80 C , DC=24V ,4 - 20 MA., Media: lubrication Oil (Servo prime T46) Flange--SIZE : 220MM [3" 300CLASS](PCD180/6 HOLES) No. 0410-4570196 | Ea | 2 | 149688 | 26943.84 | 353263.68 | 1260 | 860
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: 12 to 14 weeks from date of receipt of advance. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 100% against PI. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## DC MOTOR
Sl. No. | Item & Make | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Dailan | SIMO | Q-international | Luckypower | Inch
1 | DC Motor, SIMO Make | ZDB-61-L3-17kW-2950RPM-220V | Ea | 2 | 365904 | 65862.72 | 863533.44 | 3150 | 3397 | 3000 | 4112.65 | 3510 | 3412.1909
2 | DC Motor, SIMO Make | Z2- 81-30KW-1500RPM-220V | Ea | 2 | 650496 | 117089.28 | 1535170.56 | 5600 | 6156 | 5100 | 10758.82 | 6363 | 6082.7886
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: 18 to 20 weeks from date of receipt of advance. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 100% against PI. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost. | [10 empty] | 18990

## Pump Motor
Sl. No. | Item | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Emma | SIMO | Q-international | Luckypower | Inch
1 | Pump | VARIABLE DISPLACEMENT PISTON PUMP , A3H37-FR01KK-10-X33 Make Yuken MEDIUM- ISO VG 32 OIL (32L-TSA TURBINE OIL/GB 11120-89) WORKING TEMP- 20 ~ 65 Deg C FLOW- 37 CM3/REV MIN FLOW- 16 CM3/REV RATED WORKING PRESS- 250 KG/CM2 MAX WORKING PRESS- 350 KG/CM2 MAX SPEED- 2700 RPM MIN SPEED- 600 RPM | Ea | 1 | 151008 | 27181.44 | 178189.44 | 1300
2 | Motor | Motor for DC JOP, 30KW, 220V DC, 156.7 A, Field Current : 2.25 A, 1500 RPM, Ins Class : B, Duty – S1,Model:Z2-81 | Ea | 1 | 1045440 | 188179.2 | 1233619.2 | 9000 |  | 5100
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: 18 to 20 weeks from date of receipt of advance. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 100% against PI. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost. | [10 empty] | 18990

## 5000002901
Sl. No. | Item | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Emma | SIMO | Q-international | Luckypower | Inch
1 | Field controller Unit | Model-FCU711-S Make: SUPCON Technology Co | Ea | 2 | 214016 | 38522.88 | 505077.76 | 1900 | 1888
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: 8 to 10 weeks from date of receipt of advance. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 100% against PI. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost. | [10 empty] | 18990

## Bearing Housings BFP
Sl. No. | Item | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Anne | SIMO | Q-international | Luckypower | Inch
1 | DE Bearing Housing | DE Bearing Housing, Make:SUND TYPE-CHZCQ 18-180, STANDARD: DIN31694, SL NO: CG1512-0001-1 | Ea | 1 | 475020 | 85503.6 | 560523.6 | 4200 | 4200
2 | NDE Bearing Housing | NDE Bearing Housing, Make:SUND TYPE-CHZCB 18-180,STANDARD: DIN31694, SL NO: CG1512-0001-1" | Ea | 1 | 511212 | 92018.16 | 603230.16 | 4520 | 4520
3 | DE Bearing Housing | DE Bearing Housing, Make:Zhuji TYPE- DDQ 18-180 B, STANDARD: JB/T5888 | Ea | 2 | 221676 | 39901.68 | 523155.36 | 1960 | 1960
4 | NDE Bearing Housing | NDE Bearing Housing, Make:Zuji TYPE- DDQ 18-180 BJ, STANDARD: JB/T5888 | Ea | 2 | 221676 | 39901.68 | 523155.36 | 1960 | 1960
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: 18 to 20 weeks from date of receipt of advance. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 100% against PI. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost. | [10 empty] | 18990

## BFP Motor
Sl. No. | Item | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Anne | SIMO | Q-international | Luckypower | Inch
1 | Electrical Motor | 1. 4500 KW Voltage- 6600 V Ampere - 454.2 A Standard - JB/T10315.2- 2002 RPM- 2985 r/min Ins class- F IP- 55 Model: YXKS-630-2 Make & Other technical details- as per user pics | Ea | 1 | 11061248 | 1991024.64 | 13052272.64 | 98200 | 92800
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: 32 to 40 weeks from date of receipt of advance. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 100% against PI. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## SWP Relay
Sl. No. | Item | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Anne | SIMO | Q-international | Luckypower | Inch
1 | Relay | Relay Model SWP20 For Use in Coal Feeder panel Other Details- as per user pics | Ea | 2 | 21964.8 | 3953.664 | 51836.928 | 192 | 92
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: 32 to 40 weeks from date of receipt of advance. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 100% against PI. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## LVDT
Sl. No. | PR NO | Item Code | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Emma | Dynamic | Installed Qty
1 | N/A | N/A | LVDT, Make Shizhong Model No: HL-3-100-15 Range: 0 - 100 mm, SL.NO. 104792 | Pcs | 4 | 35000 | 6300 | 165200 | 33290.4 | 291 | 37449
2 | N/A | N/A | LVDT, Make Shizhong Model No: HL-3-150-15 Range: 0 - 150 mm, SL.NO. 067683 | Pcs | 8 | 39000 | 7020 | 368160 | 37523.2 | 328 | 42579
3 | N/A | N/A | LVDT, Make Shizhong Model No: TDZ-1-H Range: 0 - 60 mm, SL.NO. 068081 | Pcs | 10 | 35000 | 6300 | 413000 | 33290.4 | 291 | 37449
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: Item 1: 2- 4 weeks & Item 2: 6 to 8 weeks from date of receipt of confirm PO. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 30% advance with PO & balance against material readiness at OEM works. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## DP Switch
Sl. No. | Item | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Anne | SIMO | Q-international | Luckypower | Inch
1A | DP switch ( body mounted). | DIFFERENTIAL PRESSURE TRANSMITTERS PRESS:0.2MPA,SUPPLY:AC 220V 0.2A, DC 24V 2A, MM : CMS-1 Technical details as per user pic. | Ea | 5 | 5720 | 1029.6 | 33748 | 50 | 92
1B | DP switch ( body mounted). | DIFFERENTIAL PRESSURE TRANSMITTERS PRESS:0.35MPA,SUPPLY:AC 220V 0.2A, DC 24V 2A, MM : CMS-1 Technical details as per user pic. | Ea | 5 | 5720 | 1029.6 | 33748 | 50 | 92
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: 8 to 10 weeks from date of receipt of advance. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 100% against PI. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## Vortex
Sl. No. | Item | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Emma | Shanghai Hongqing Industry Co. Ltd | Q-international | Luckypower | Inch
1 | Vortex Plate Assembly for Cyclone Separator | Vortex Plate Assembly for Cyclone Separator MOC- SA253 MA, Dimensions- As per following drawings CENTRAL CYLINDER drawing DWG-330B04-4-0 including boom , hanging ear , ring , shelf , etc. • DWG-330B04-0 • DWG- 330B04-4-0- Central Cylindrical part • DWG- 330B04-4-4-0 - Ear Ring • DWG- 330B04-4-17 - Filling • DWG-330B04-4-19 - Cirque • DWG-330B04-4-20-0 - Bracket | Set | 1 | 5948800 | 1070784 | 7019584 | 52000 | 49600 | 55238
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: 32 to 40 weeks from date of receipt of advance. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 100% against PI. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## SiCv
Sl. No. | Item | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Emma | Daniel | Q-international | Luckypower | Inch
1 | SiCv | Screw in Cartridge valve SV-13-12V-C-0-00 Make: Eaton | Ea | 8 | 8008 | 1441.44 | 75595.52 | 70 | 98 | 56.79 | 62.469
2 | SiCv | Screw in Cartridge valve SV4-10V-C-0-00 Make: Eaton | Ea | 8 | 3432 | 617.76 | 32398.08 | 30 | 71 | 23.39 | 25.729
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: 8 to 10 weeks from date of receipt of advance. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 100% against PI. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## IV Act
Sl. No. | PR NO | Item Code | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Sungme | Dynamic | Installed Qty
1 | N/A | N/A | Assembly, Actuator Dwg No.: 139.357Z(B)-22 Governing Valve - Right Make: HTC | Set | 1 | 927675 | 166981.5 | 1094656.5 | 7750 | 7190
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: Item 1: 2- 4 weeks & Item 2: 6 to 8 weeks from date of receipt of confirm PO. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 30% advance with PO & balance against material readiness at OEM works. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## 5000003050
Sl. No. | Item Code | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Emma | Daniel | Q-international | Luckypower | Inch
1 | 100000049922 | DEH REGENERATION PUMP TYPE - GEAR PUMP, CODE:06010009 | Ea | 2 | 77792 | 14002.56 | 183589.12 | 680 | Salami Pumps
2 | 100000049923 | DEH RECIRCULATION PUMP TYPE - GEAR PUMP CODE:06010008 | Ea | 2 | 77792 | 14002.56 | 183589.12 | 680 | Salami Pumps
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: 8 to 10 weeks from date of receipt of advance. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 100% against PI. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## 5000003631
Sl. No. | Item Code | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Sungme | Daniel | Target | Luckypower | Inch
1 | 100000052661 | SEAL KIT for HPSV ACTUATOR, K07A.331Z(B),HTC, HP STOP VALVE ACTUATOR SEAL KIT, DRAWING NO. K07A.331Z(B), MAKE - HARBIN TURBINE COMPANY LTD. | Set | 4 | 16320 | 2937.6 | 77030.4 | 150 |  |  | 16354.8
2 | 100000052662 | SEAL KIT_IPSV ACTUATOR , K07A.332Z(B),HTC, IP STOP VALVE ACTUATOR SEAL KIT, DRAWING NO. K07A.332Z(B) MAKE – HARBIN TURBINE COMPANY LTD. | Set | 4 | 16320 | 2937.6 | 77030.4 | 150
3 | 100000052663 | SEAL KIT_HPCV ACTUATOR 139.357Z(B)-21, HP CONTROL VALVE ACTUATOR SEAL KIT, DRAWING NO. - 139.357Z(B)-21 MAKE -HARBIN TURBINE COMPANY LTD. | Set | 8 | 16320 | 2937.6 | 154060.8 | 150
4 | 100000052664 | SEAL KIT_IPCV ACTUATOR 139.358Z(B)-21, IV ACTUATOR SEAL KIT, DRAWING NO. - 139.358Z(B)-21, MAKE – HARBIN TURBINE COMPANY LTD. | Set | 8 | 16320 | 2937.6 | 154060.8 | 150
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: 8 to 10 weeks from date of receipt of advance. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 100% against PI. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## 1400000008
Sl. No. | Item Code | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Emma | Daniel | Q-international | Luckypower | Inch
1 | 100000049625 | ELECTRODE FOR HYDRASTEP, M18 X 1.5, ELECTRODE FOR HYDRASTEP, PROCESS CONNECTION :M18 X 1.5, MODEL : DSY - 02, Make: Suzhou industrial parktianchi" | Ea | 110 | 2060 | 370.8 | 267388
2 | 100000053372 | Tacho Wheel For coal feeder controller Type: YE58-A | Ea | 3 | 65340 | 11761.2 | 231303.6
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: 8 to 10 weeks from date of receipt of advance. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 100% against PI. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## 1400000074
Sl. No. | Item Code | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Emma | Daniel | Q-international | Luckypower | Inch
1 | NA | Coal Feeder Load Cell, Make : Vishay, Type: Celtron, Model: LPS-100Kg | Ea | 5 | 13560 | 2440.8 | 80004
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: 8 to 10 weeks from date of receipt of advance. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 100% against PI. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## Budgetary EH Pump
Sl. No. | Pump Type | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Emma | Daniel | Q-international | Luckypower | Inch
1 | Pump Model: PVH074QICRF1S11C25, Type of pump: Axial piston pump. Make: Chinese make (Vickers design) | Service Cost | Ea | 1 | 30000 | 5400 | 35400 | 2560.8 |  | 2328
2 |  | Repair/Seal Kit SEALKITPVH74 02-102262 | Ea | 1 | 14466.276 | 2603.9297 | 17070.2057 | 119.064 |  | 108.24
3 |  | ROTARY GROUP KIT ROTATINGGROUPPVH7410 Part No 877421 | Ea | 1 | 156401.2395 | 28152.2231 | 184553.4626 | 1287.253 |  | 1170.23
4 | Pump Model: A3H37-FR01KK-10 Type of pump: Axial piston pump. Make: Yuken Kogyo Co.Ltd, Japan | Service Cost | Ea | 1 | 30000 | 5400 | 35400
5 |  | Repair/Seal Kit & internals | Ea | 1 | 48000 | 8640 | 56640
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: 8 to 10 weeks from date of receipt of advance. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 100% against PI. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## DEH IO Module
Sl. No. | Item Code | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Emma | Daniel | Emma | Luckypower | Inch
1 | 100000051361 | EDPF-SD1- 01IO05122B01 Speed Module | Ea | 1 | 563992 | 101518.56 | 665510.56 | 4930 | 4930 |  | 1300
2 | 100000055899 | EDPF-AI16- 01IO05021A01 Analog Input Module | Ea | 1 | 160160 | 28828.8 | 188988.8 | 1400 | 2490 |  | 845
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: 8 to 10 weeks from date of receipt of advance. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 100% against PI. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## 1400000169
Sl. No. | Item Code | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Anne | Sungme | Q-international | Luckypower | Inch
1 | 100000054400 | TURBINE AST& OPC HYDRAULIC BLOCK TURBINE DEH HYDRAULIC TEST BLOCK OF OPC & AST DRAWING NO 157.776Z(B)-1 Without solenoid valves but with necessary connectors Note:Excluding pressure gauges, pressure switches and solenoid valves. | Set | 1 | 712800 | 128304 | 841104 | 6000 | 4550 | 6450
2 | 100000054399 | TURBINE EMERGENCY TRIP DIAPHRAGM VALVE, CONTROL VALVE, SERIAL NO.-0019301985, PORT SIZE 3/4 INCH, RATING-CL600 PSI CWP, PLUG-SST/HF, BODY- STL, TYPE- D, PORT SIZE- 3 7/16, STEM- SST, SEAT- CO ALY END CONNECTION-BW, MAKE-FISHER, EMERSON PROCESS MANAGEMENT LOCATION 382 | Set | 1 | 1544400 | 277992 | 1822392 | 13000 | 14250 | 12900
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: 8 to 10 weeks from date of receipt of advance. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 100% against PI. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## 1400000168
Sl. No. | Item Code | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Anne | Sungme | Q-international | Luckypower | Inch
1 | 100000052665 | MSV ACTUATOR ASSEMBLY, DRAWING NO. - K07A.331Z(B), MAKE - HARBIN TURBINE COMPANY LTD. | Set | 1 | 772200 | 138996 | 911196 | 6500 | 4300 | 7090
2 | 100000052666 | RSV ACTUATOR ASSEMBLY DRAWING NO. - K07A.332Z(B) MAKE - HARBIN TURBINE COMPANY LTD. | Set | 1 | 772200 | 138996 | 911196 | 6500 | 4300 | 7090
3 | 100000052667 | GV ACTUATOR ASSEMBLY, DRAWING NO. - 139.357Z(B)-21, MAKE – HARBIN TURBINE COMPANY LTD. | Set | 1 | 772200 | 138996 | 911196 | 6500 | 4300 | 7090
4 | 100000052668 | ICV ACTUATOR ASSEMBLY DRAWING NO. - 139.358Z(B)-21 MAKE – HARBIN TURBINE COMPANY LTD. | Set | 1 | 772200 | 138996 | 911196 | 6500 | 4550 | 7090
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: 8 to 10 weeks from date of receipt of advance. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 100% against PI. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## 1400000261
Sl. No. | Item Code | Part Name | UOM | Qty | Unit Rate-INR | GST @ 18% | SubTotal | Self | Anne | Sungme | Q-international | Luckypower | Inch
1 | 100000051344 | Pneumatic Cylinder, Model : GPM40X500, Pneumatic Cylinder, Model : GPM40X500, Make: Bellofiam | Ea | 6 | 9600 | 1728 | 67968
2 | 100000051345 | Pneumatic Cylinder,Model:GPM80X50, Pneumatic Cylinder, Model : GPM80X500, Make: Bellofiam | Ea | 4 | 11500 | 2070 | 54280
3 | 100000049629 | SPARK ROD, XDZ-1-2200/18, UPPER BED | Ea | 4 | 30900 | 5562 | 145848
4 | 100000049630 | SPARK ROD, XDZ-1-2300/18, UNDER BED | Ea | 4 | 30900 | 5562 | 145848
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR SEL (JPL) Nellore transporter go-down Basis (Transit insurance in scope of buyer). Delivery Time: 8 to 10 weeks from date of receipt of advance. (Covid-19 may affect delivery schedules) G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 100% against PI. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty: N/A Standard packaging will be done for supply of above items. Our offer confirm for 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.

## 1400000717
Sl. No. | PR No | Item Code | Short Description | Part Name | UOM | PR Qty | Unit Rate-INR | SubTotal | Considered | Nord Fluid | Emma | Nord Fluid
1 | 1400000717 | 100000055014 | Sov Coil | SOV Coil Make: Eaton, 230 V AC MCSCH230AG000010 | Ea. | 10 | 0 | 0 |  | 22.3 | 107 | 27
2 | 1400000717 | 100000051471 | Sov Coil | SOV COIL 220 V DC PAT: 6002253 DC- 19W PARKER GCP230 m | Ea. | 5 | 0 | 0
3 | 1400000717 | 100000059026 | Cartridge screw valve | Cartridge screw valve: GS021600V 1102 Make: Parker | Ea. | 5 | 0 | 0 |  |  | 155 | 78
4 | Subtotal | [6 empty] | 0
5 | GST Rate 18% applicable as extra | [6 empty] | 0
6 | Grand Total on FOR Site Basis-INR | [6 empty] | 0
1. 2. 3. 4. 5. 6. 7. 8. 9. | Terms & Conditions Offer Basis FOR Site Basis Delivery Time: 12 weeks from date of receipt of confirm PO. G/Warranty: 12 months from date of DISPATCH - only for manufacturing defects Payment Terms: 100% along with taxes etc. against PI. Offer Validity: 31 days from date of offer. Any statutory changes in rate of tax etc will be applicable as on date of dispatch. Minimum Order Qty.: N/A Standard packaging will be done for supply of above items. 100% fitment & interchangeability of offered products. In case of any discrepancy, we will replace items promptly for free of cost.