## Doc5794738674
Number | Material Code | Description | Part Name | Unit of Measure | Quantity
1 | 2101002534 | BRSH,AU0575,AURIC TECHNO SERVICES | ITEM NAME: BRUSH; PART NO: AU0575; MAKE: AURICTECHNO SERVICES | each | 4
2 | 2200025215 | DRIVE,STANDALONE,380 - 480 VAC,DYNAMIC | DRIVE, STANDALONE, TYPE: AC, RATED POWER: 11 KW, INPUT VOLTAGE RANGE: 380 -480 VAC, INPUT FREQUENCY: 48-63 Hz, OUTPUT VOLTAGE: 380-480 VAC, OUTCURRENT: 23 A, OUTPUT FREQUENCY: 0 TO 50 Hz, PHASE: 3 PH, BRAKING: DYNAMIC, CONTROL MODULE MOUNTING: INTERNAL, COOLING METHOD: AIR, PROTECTIONCLASS: IP21, DRIVE MOUNTING: PANEL, MODEL: ACS550-01-023A-4, MAKE: ABB | each | 3
3 | 2200026501 | CBL,PWR,1.1KV;STRNDED;4C;16MM2;CU;PVC | CABLE, POWER, RATED VOLTAGE: 1.1 KV; CONDUCTOR TYPE: STRANDED; NUMBER OFCORE: 4C; CONDUCTOR CROSS SECTION AREA: 16 MM2; CONDUCTOR MATERIAL: COPPER; INNER SHEATH MATERIAL: EXTRUDED PVC ST1; INSULATIONMATERIAL: PVC; ARMOURING TYPE: GI ROUND WIRE; OUTER SHEATHMATERIAL: EXTRUDEDPVC ST1; STANDARD: IS 1554-1-1988 | meter | 100
4 | 2200027576 | CBL,PWR,1.1KV;FLEX;4C;2.5MM2;CU;PVC | CABLE, POWER, RATED VOLTAGE: 1.1 KV; CONDUCTOR TYPE: FLEXIBLE; NUMBER OFCORE: 4C; CONDUCTOR CROSS SECTION AREA: 2.5 MM2; CONDUCTOR MATERIAL: COPPER; INNER SHEATH MATERIAL: EXTRUDED PVC ST1; INSULATIONMATERIAL: PVC; ARMOURING TYPE: GI ROUND WIRE; OUTER SHEATHMATERIAL: EXTRUDED PVC ST1; STANDARD: IS 1554-1-1988 | meter | 200
5 | 2200027729 | CBL,PWR,1.1KV;STRNDED;4C;10MM2;CU;PVC | CABLE, POWER, RATED VOLTAGE: 1.1 KV; CONDUCTOR TYPE: STRANDED; NUMBER OFCORE: 4C; CONDUCTOR CROSS SECTION AREA: 10 MM2; CONDUCTOR MATERIAL: COPPER; INNER SHEATH MATERIAL: EXTRUDED PVC ST1; INSULATIONMATERIAL: PVC; ARMOURING TYPE: GI FLAT STRIP; OUTER SHEATHMATERIAL: EXTRUDEDPVC ST1; STANDARD: IS 1554-1-1988 | meter | 200
6 | 2200039854 | EXPANSION RECEIVER MODULE,IC200ERM002,GE | ITEM NAME: EXPANSION RECEIVER MODULE; PARTNO: IC200ERM002; MAKE: GE | each | 2
7 | 2200043125 | VLV,PNMTC,5/2WAY DBL SOL;1/4IN BSP(F) | MODULE; TYPE : INPUT, VERSA MAX; VOLTAGE RATING : 24 VDC; MODEL :IC200MDL650F-32PT; MAKE : GE FANUC; ADDITIONAL INFORMATION : POS/NEG GRPASME B16.9 EQUAL TEE ID 320 x 51.5 MM | each | 3
8 | 2200046553 | MDULE,INPUT,ANALOG,24VDC,15 CHANNEL,45 | MODULE, MODULE TYPE: INPUT; TYPE: ANALOG; VOLTAGE RATING: 24VDC; NO.OFINPUT CHANNEL: 15 CHANNEL; OPERATING TEMPERATURE: 45 DEG; ENCLOSURE PROTECTION: IP20; MODEL: IC200ALG264; MAKE: GE FANUC | each | 2
9 | 2200060454 | DRIVE,STANDALONE,AC TO AC,SCHNEIDER | DRIVE, STANDALONE, TYPE: AC TO AC, RATED POWER: 4 KW, INPUT VOLTAGERANGE: 380-500 VAC, OUTPUT VOLTAGE: 0-500 VAC, OUTPUT CURRENT: 9.5 A, OUTPUTFREQUENCY: 0.5-500 HZ, PHASE: 3, BRAKING: DYNAMIC, CONTROL MODULEMOUNTING: INTERNAL, COOLING METHOD: AIR, DRIVEMOUNTING: PANEL, MODEL: ATV312HU40N4, MAKE: SCHNEIDER | each | 2
10 | 2200062482 | TRSMTR,LVL,U-SONC,0-2 M,WTR,4 to 20 MA | TRANSMITTER, LEVEL, TYPE: ULTRASONIC, MEASURING RANGE: 0-2 M, MEDIA: WATER, DISPLAY: ANALOGE, OUTPUT: 4 to 20 MA, PROCESS CONNECTION: 1 1/2 NPTINCH, POWER SUPPLY: 24 V LOOP POWERED, ELECTRICAL CONNECTION: 2 WIRE, OPERATING TEMPERATURE: 10-80 DEG.C, MOUNTING: DIRECT; MODELNO: FMU40-ANB1A4; MAKE : ENDRESS AND HAUSER | each | 8
11 | 2200075473 | MDULE,INPUT,ANALOG,24VDC,15 CHANNEL,45 | ITEM NAME: ANALOG INPUT MODULE; PARTNO: IC200ALG260; MAKE: GE FANUC; MAJOR EQUIPMENT: PLC; ADDITIONALINFORMATION: 8 X ANALOG INPUT MODULE (SINGLE ENDED) | each | 2
12 | 2200098958 | I/O CARR BOX;IC200CHS022;GE | ITEM NAME: I/O CARRIER BOX; PARTNO: IC200CHS022; MAKE: GE; ADDITIONAL INFORMATION: 90-30 GE PLC COMPACT I/OCARDCARRIER BOX | each | 6
13 | 2200101718 | VLV,PNMTC,5/2WAY DBL SOL;1/4IN BSP(F) | MODULE, MODULE TYPE: INPUT; TYPE: DIGITAL; VOLTAGE RATING: 24 VDC; NO.OFINPUT CHANNEL: 32; OPERATING TEMPERATURE: 0-50 DEG C; ENCLOSUREPROTECTION: IP20; MODEL: VERSAMAX IC200MDL650; MAKE: GE FANACASME B16.9 EQUAL TEE ID 320 x 51.5 MM | each | 6
14 | 2200101759 | VLV,PNMTC,5/2WAY DBL SOL;1/4IN BSP(F) | MODULE, MODULE TYPE:OUTPUT; TYPE:DIGITAL; VOLTAGE RATING:24 VDC; NO.OFOUTPUT CHANNEL:32; OPERATING TEMPERATURE:0-60 DEG C; ENCLOSURE PROTECTION:IP67; MODEL:IC200MDL750; MAKE:GEFANUCASME B16.9 EQUAL TEE ID 320 x 51.5 MM | each | 3
15 | 2200117096 | MDULE,OUTPUT,ANALOG,24VDC,4,50DEG C,IP24 | MODULE, MODULE TYPE:OUTPUT; TYPE:ANALOG; VOLTAGE RATING:24 VDC; NO.OFOUTPUT CHANNEL:4; OPERATING TEMPERATURE:50 DEG C; ENCLOSURE PROTECTION:IP24; MODEL:IC200ALG320G; MAKE:GE FANUC | each | 2
16 | 2200151805 | PWR SUPY,UN INTRPT,ONLNE,2 KVA | POWER SUPPLY, UNINTERRUPTED, TYPE:ONLINE, CAPACITY:2 KVA, INPUTVOLTAGE:230 VAC, OUTPUT VOLTAGE:230 VAC, PHASE:SINGLE, VOLTAGEREGULATION: +/-10 %, PANEL DISPLAY:LED, DIMENSION:480x438x88 MM, MAKE:APC/EMERSON/EQUIVALENT | each | 1
17 | 2200153150 | BAT,RECHRGEBLE,LEAD ACID;42 AH;ES42-12 | BATTERY, RECHARGEABLE, TYPE:LEAD ACID; VOLTAGE:12VDC; SIZE:166(W)X171(H)X198(L) MM; DISCHARGE CAPACITY:42AH; MAKE:ROCKET; MODEL:ES42-12 | each | 8
18 | 2200154180 | STRTR,ELEC MOTR,DOL,13-22A,MK1 SS96228 | STARTER, ELECTRIC MOTOR, TYPE:DOL, VOLTAGE:415VAC, CURRENT RATING:13-22 A, POWER:5.5 KW, CONTROL VOLTAGE:415 VAC, PHASE:3PH, CONTACTOR DUTY CYCLE:AC-3, OVERLOAD PROTECTION:THERMAL OVERLOAD, MAKE:LnT, MODEL:MK1SS96228 | each | 4
19 | 2200162737 | DRIVE,STANDALONE,7.5 KW,EXTL,DANFOSS | DRIVE, STANDALONE, TYPE:AC TO AC, RATED POWER:7.5 KW, INPUT VOLTAGERANGE:380-480 VAC, OUTPUT VOLTAGE:440 VAC, OUTPUT CURRENT:15 A, OUTPUT FREQUENCY:0-500 HZ, PHASE:3, BRAKING:DYNAMIC, CONTROL MODULEMOUNTING:EXTERNAL, COOLING METHOD:AIR, DRIVE MOUNTING:EXTERNAL, MODEL:FC-360-H7K5-T4-E20-H2-B-NLCP-C-D-X-A0, MAKE:DANFOSS, ADDITIONALINFORMATION:CONTROL MODULE-132B0254,134F2979 | each | 3
20 | 2200167390 | MDULE,IFC,IC200PNS001;GE FANUC | MODULE, INTERFACE, VOLTAGE RATING:24 V DC; INPUT INTERFACETYPE:PROFINET; OUTPUT INTERFACE TYPE:PROFINET; OPERATING TEMPERATURE:0TO 60 DEG/C; ENCLOSUREPROTECTION:IP65; APPLICATION:PLC; MODEL:IC200PNS001; MAKE:GE FANUC | each | 2
21 | 2200179070 | SWTCH,ETNT,LYR 2;MOXA;EDS-405A-MM-SC | COMMUNICATION CABLE, CABLE TYPE:ETHERNET; CAT REFERENCE:CAT-6UTP; CONDUCTOR MATERIAL:ATC; INNER SHEATH MATERIAL:PVC; OUTER SHEATH MATERIAL:HDPE; SHIELDING MATERIAL:UNSHEILDED; ARMOURING:UNARMOURD; MAKE:MOLEX/ EQUIVALENT | meter | 100
22 | 2200179751 | MOT,LT AC,3.7 KW;50 HZ;3;6;B3;132SM;S1 | MOTOR, LT ELECTRIC AC, TYPE:IE3 SQ CAGE; POWER RATING:3.7 KW; VOLTAGERATING:415 VAC; FREQUENCY:50 HZ; PHASE:3; POLE:6; INGRESS PROTECTION:IP55; COOLING METHOD:IC411; MOUNTING:B3; INSULATION CLASS:F; FRAMESIZE:132SM; DUTY CYCLE:S1; METHOD OF CONTROL:DOL; TERMINAL BOX LOCATION:TOP; AMBIENT TEMPERATURE:50 DEC C | each | 1
23 | 2200183449 | SWTCH,ETNT,LYR 2;MOXA;EDS-405A-MM-SC | SWITCH, ETHERNET, TYPE:LAYER 2; TYPE OF PORT:2 -MULTIMODE SC+RJ45+RS232; SPEED:100 BASE FX PORTS; NUMBER OF PORTS:5 NOS; POWER SUPPLY:12/24/48 VDC; DIMENSION:53.6 X 135 X 105 MM; OPERATING TEMPERATURE:-10 TO60 DEG.C; BODY MATERIAL:METAL; MAKE:MOXA; MODEL:EDS-405A-MM-SC | each | 2
24 | 2200214486 | SWH,LIM,HDTY,SGL,RLR,BI-DIRECTION,3,SIDE | SWITCH, LIMIT, TYPE:HEAVY DUTY; TYPE OF LEVER:SINGLE; TYPE OFACTUATION:ROLLER; DIRECTION:BI -DIRECTION; CONFIGURATION:2NO+2NC; CONTACT RATING:3; MOUNTING:SIDE; ENCLOSURE:IP67; MODEL:HLM1740 51 | each | 3
25 | 2200225080 | CNTRLR,MULTIFUNCTION,0-100%,PI BASED,ANL | CONTROLLER, PROCESS:MULTIFUNCTION; RANGE:0 -100%; CONTROL ACTION:PIBASED; POWER SUPPLY:24 VAC/DC; OUTPUT SIGNAL SPECIFICATION:ANALOG; NO OF OUTPUT SIGNALS:3 MAX; NO OF INPUT SIGNALS:1 CH; DISPLAY TYPE:NOTREQUIRED; AUTO/MANUAL OPERATION:AUTO; MOUNTING:DIN RAIL; IP PROTECTION:IP20; MAKE:EMERSON / EQUIVALENT; MODEL:EPSCPE100/EQUIVALENT | each | 1
26 | 2200242408 | SWTCH,FLOAT,FREE FLOT,230VAC,10A | SWITCH, FLOAT, TYPE OF SWITCH:BALL; TYPE OF ACTUATION:FREE FLOAT; FLOATMATERIAL OF SPECIFICATION:POLYPROPELENE; AUX CONTACT CONFIGUARATION:1NO+1NC; AUX CONTACTS VOLTAGE RATING:230 VAC; AUXCONTACTS CURRENT RATING:10 A; PROCESS CONNECTION:FREE; TYPE OF MOUNTING:HORIZONTAL; OPERATING TEMPERATURE:0 TO 60 DEG C; OPERATINGPRESSURE:N/A; PROCESS FLUID:WATER; CABLE LENGTH:5 M; ADDITIONAL INFORMATION:MODEL- LSCF-R-SPDT10A-5M, MAKE INNQ/EQUIVALANT, RECTANGLE SHAPE | each | 15
27 | 2200249240 | PLC,PLC,128KB,4,2,2,2,24VDC,DELTA/ EQVL | PLC, TYPE:PLC; MEMORY:128 KB; DIGITAL INPUT:4; DIGITAL OUTPUT:2; ANALOGINPUT:2; ANALOG OUTPUT:2; POWER SUPPLY INPUT:24 VDC; MAKE:DELTA/ EQUIVALENT; MODEL/MLFB/TYPE NUMBER:DVP10SX11T/EQUIVALENT; REDUNDANCY:NOT REQUIRED; COMMINICATIONTYPE:ETHERNET, MODBUS; PROGRAMMING LANGUAGE:LADDER | each | 1
28 | 2200253531 | SWTCH,PR,SPRNG,DFR,AIR,100 - 213PSI,5A | SWITCH, PRESSURE, TYPE:SPRING; PRESSURE CATEGORY:DIFFERENTIAL; MEDIUM:AIR; SWITCHING PRESSURE RANGE:100 - 213PSI; OUT PUT TYPE:MICRO SWITCH; CONTACT RATING:5 A; VOLTAGE RATING:415 VAC; PROCESS CONNECTION TYPE:THREADED BSP; PROCESS CONNECTION SIZE:1/2IN; OPERATING TEMPERATURE:-15 TO 60 DEG C; ADDITIONALINFORMATION:MODEL:PRV-15X / EQUIVALENT | each | 5
29 | 2200257768 | MDULE,CPU,230VAC/DC,RS232/RS485,34KB,0 | MODULE, MODULE TYPE:CPU; VOLTAGE RATING:230 VAC/DC; INPUT INTERFACETYPE:RS232/RS485; OUTPUT INTERFACE TYPE:RS232/RS485; INTERNAL MEMORY:34 KB; EXPANDABLE MEMORY MAX.:0; MEMORY TYPE:EPROM; CPU PROCESSINGTIME:1.8 MS; ENCLOSURE PROTECTION:IP00; MODEL:IC200CPU001; MAKE:GE(EMERSON) | each | 2
30 | 2200261028 | LUMNR,LED,STREET LIGHT,150W,140-270VAC | LUMINAIRE, LED, TYPE:STREET LIGHT; TOTAL POWER CONSUMED INCLUDINGDRIVER:150 W; VOLTAGE RANGE:140-270 VAC; EFFICACY:MIN: 120 LUM/W; TOTALHARMONIC DISTORTION:<10; SYSTEM LUMEN OUTPUT:MIN: 18000 LUMEN; CRI:>70; CCT (LED COLOUR):5700 K; WORKING TEMPERATURE RANGE:-10TO 50 DEG C; LUMINAIRE LIFE EXPECTANCE:50000 HR; INGRESS PROTECTION:IP66; MOUNTING:POLE; DRIVER:INTERNAL; DRIVE R SURGEPROTECTION:4 KV; POWER FACTOR:0.95 | each | 20
31 | 2200268739 | ANLYZR,TURBTY,ONLINE,0-100NTU,INDSTL WTR | ANALYZER, TURBIDITY, TYPE:ONLINE; RANGE:0-100 NTU; APPLICATION:INDUSTRIALWATER; OPERATING TEMPERATURE:0-50 DEG C; POWER SUPPLY:240 VAC; SENSOR TYPE:WITH WIPER; SENSOR MATERIAL:TUNGSTEN; MOUNTING TYPE:WALLMOUNTING; MAX PRESSURE LIMIT:13.78 BAR; FLOW:0.1 TO 1 LPM; CABLELENGTH:10 M; ACCURACY:+/ -1 %; ENCLOSURE MATERIAL:ABS; INGRESS PROTECTION:IP66; MODEL:TURBIMAX CUE22; MAKE:ENDRESS +HAUSER | each | 1
32 | 2200280981 | CBL,INSTRUMENTATION/SIGNALING,1.1KV,2 T | CABLE, CABLE TYPE:INSTRUMENTATION/SIGNALING; RATED VOLTAGE:1.1KV; CONDUCTOR TYPE:STRANDED; NUMBER OF PAIRS:2 T; CONDUCTOR CROSSSECTION AREA:1.0 MM2; INSULATION MATERIAL:PVC; INNER SHEATH MATERIAL:EXTRUDED POLYVINYL CHLORIDE (PVC) COMPOUND TYPEST-2; ARMOURING TYPE:GI ROUND WIRE; OUTER SHEATH MATERIAL:EXTRUDEDPOLYVINYL CHLORIDE (PVC) COMPOUND TYPE ST-2 FRLSH; SCREENING METHOD:INDIVIDUAL & OVERALL SCREENED; SCREENING MATERIAL:ALUMINIUMMYLAR TAPE | meter | 500
33 | 3200005859 | ANLYZR,GS,LED LUMINESCENT;0-20 PPM;O2 | ANALYZER, GAS, TYPE:ONLINE DISSOLVED OXYGEN; WORKING PRINCIPLE:LEDLUMINESCENT; RANGE:0-20 PPM; APPLICATION:OXYGEN; POWER SUPPLY:110-230 VAC; SENSOR TYPE:LDO; MEDIA:WATER; ACCURACY:+/- 0.1 PPM; OPERATINGTEMPERATURE:0-50 DEG.C; SAMPLE PRESSURE:3.5 BAR; SAMPLE TEMPERATURE:0-50 DEG.C; SPECIAL FEATURES:WITH CONTROLER | SET | 1
34 | 3200012828 | CMPRSR,INDSTL,ATOMOSPHERIC AIR,CNTRFGL | COMPRESSOR, INDUSTRIAL, MEDIA:ATOMOSPHERIC AIR; TYPE:CENTRIFUGAL; CAPACITY / FLOW RATE:41 OZ(1212 ML); DISCHARGEPRESSURE:12.3; DISCHARGE TEMPERATURE:AMBIANT; MAX SPEED (RPM):1451; DRIVE:MOTOR ELECTRICAL; TANK CAPACITY:225; POWER:3 PHASRMOTOR; ADDITIONAL INFORMATION:MODEL- 2475, MAKE- INGERSOLL-RAND | each | 1
35 | 4200031529 | ADHSV, UPVC SVT CMNT;SVT BASE PRDCT | ADHESIVE, TYPE: UPVC SOLVENT CEMENT; BASE MATERIAL:SOLVENT BASEPRODUCT; COLOR:CLEAR; FORM:MEDIUM SETTING VISCOUS LIQUID; CONTAINER:1 LTR CONTAINER; APPLICATION:FOR UPVC PIPES AND FITTINGSJOINING; STANDARD:ASTM D 2564; SPECIAL FEATURES:LOW VOC; MAKE:WELDON; MODEL:UPVC 717; ADDITIONAL INFORMATION:FOR 76 MW CDQ PP | each | 10
36 | 8100027595 | PNL AIR CONDITIONER,AIR COOLED,4.5T | PANEL AIR CONDITIONER, TYPE:AIR COOLED; CAPACITY:4.5 T; COMPRESSOR:HERMETIC; TYPE OF COMPRESSOR:SCROLL; TYPE OF REFRIGERANT:R22; MOUNTING:VERTICAL; ELECTRICAL RATING:5 STAR; PHASE:230V AC; OPERATION:VERTICOOL | each | 2
37 | 8100031050 | CMPTR,INTEL i7;24 IN WDE;8 GB;1 TB | COMPUTER, TYPE:DESKTOP; PROCESSOR:INTEL i7; OPERATING SYSTEM:WINDOWS10; CACHE SIZE:4 MB; MONITOR:LCD / LED; MONITOR SIZE:24 INCH WIDE; DRIVE:DVD WRITER; MOTHER BOARD:INTEL; RAM:8 GB; HARD DISK CAPACITY:1TB; NUMBER OF EXPANSION SLOTS:1 PCI SLOT; 2 EXP SLOT; SPECIAL FEATURES:4 GB GRAPHICS CARD; MAKE:HP/DELL/LENOVO; MODEL:ANY; ADDITIONALINFORMATION:WITH 3 YEARS ONSITE WARRANTY; KEYBOARD MOUSE | each | 2
38 | 8100061280 | WIRELESS GATEWAY,DVC,IDR,SGL,1,EXTL,YES | WIRELESS GATEWAY, DEVICE, TYPE:INDOOR; OPERATING MODE:SINGLE; NUMBER OFANTENNAS:1; ANTENNA TYPE:EXTERNAL; WIRELESS RANGE:UNLIMITED; POWER SUPPLY:230 VAC; TRANSMISSION RATE:100 MBPS; SECURITY FEATURES:YES; INGRESS PROTECTION:IP55; MAKE:WI MATE OREQUIVALENT; MODEL:UNIFIER 300 OR EQUIVALENT | each | 1
39 | 2100048189 | RGLTR,FILTER,0-10KG/CM2,0.70 - 7.00KG | REGULATOR, TYPE:FILTER; INLET PRESSURE RANGE:0-10 KG/CM2; OUTLETPRESSURE RANGE:0.70 - 7.00 KG/CM2; CONNECTION TYPE:NPT FEMALE THREADED; CONNECTION SIZE:¼ IN; MOUNTING:BRACKET; CONTROL SYSTEM:MANUAL; MEDIA:AIR; MAKE:SHAVO / EQUIVALENT; MODEL:11-4SN-201M-M6KA-NB/EQUIVALENT | each | 5
40 | 2100085580 | BLK,CHN PLLY,SPUR GER,2 TON,12 M,HOK | BLOCK, CHAIN PULLEY, TYPE:SPUR GEAR, CAPACITY (SWL):2 TON, STANDARD:IS3832, DUTY:MEDIUM, HEIGHT OF LIFT:12 M, TYPE OF SUSPENSION:HOOK, HEAD ROOM:205 MM, DISTANCE BETWEEN SUSPENSION LEVEL AND FLOOR LEVEL:1 M, TEST CERTIFICATE:REQUIRED | each | 4
41 | 2100236948 | PR SWH;PSU-15X;INDFOS | ITEM NAME:PRESSURE SWITCH; PARTNO:PSU-15X; MAKE:INDFOS; ADDITIONAL INFORMATION:PRESSURE RANGE 7-15 ATODIFF 712 .3-7 ATO | each | 5
42 | 2100296355 | SLV PMP SIDE,311,KPDS 80/32 QFM | ITEM NAME:SLEEVE PUMP SIDE; PART NO:311; MAKE:KIRLOSKARBROTHER LTD; MAJOR EQUIPMENT:BLOWER AREA SUMP PUMP PU-E-11.1/2; MAJOR EQUIPMENT MODEL:KPDS 80/32 QFM; MAJOR EQUIPMENT MAKE:KIRLOSKARBROTHER LTD | each | 2
43 | 2100307653 | SLV DRIVE SIDE,310,KPDS 80/32 QFM | ITEM NAME:SLEEVE DRIVE SIDE; PART NO:310; MAKE:KIRLOSKARBROTHER LTD; MAJOR EQUIPMENT:BLOWER AREA SUMP PUMP PU-E-11.1/2; MAJOR EQUIPMENT MODEL:KPDS 80/32 QFM; MAJOR EQUIPMENT MAKE:KIRLOSKARBROTHER LTD | each | 2
44 | 2100336042 | CUPLNG,PI,PI,2IN,20 BR,UPVC,SCKT,80 | COUPLING, PIPE, TYPE:PIPE, SIZE:2INCH, DESIGN STANDARD:ASTM D-2467, PRESSURE RATING:20 BAR, MATERIAL:UPVC, METHOD OF MANUFACTURE:MOULDING, END CONNECTION:SOCKET, PIPE SCHEDULE:80 SCH, THREAD TYPE:NO | each | 10
45 | 2100337235 | ELBW,PI,90,2 1/2 IN,20 KG/CM2,SCKT,UPVC | ELBOW, PIPE, TYPE:BEND; DEGREE:90; SIZE:2-1/2 INCH; PIPE SCHEDULE:80, WALLTHICKNESS:7 MM, OUTSIDE DIAMETER:89 MM, BEND RADIUS:1.2 D, PRESSURE RATING:20 BAR, END CONNECTION:SOCKET, MATERIAL:UPVC, MATERIALGRADE:ASTM D-2467, SERVICE / MEDIA:WATER, METHOD OF MANUFACTURE:MOULDING, IBR CERTIFICATION:NA | each | 8
46 | 2100381219 | FTTNG,PI/TB,TEE,50MM,50MM,ASTM D2467 | FITTING, PIPE/TUBE, TYPE:TEE; SIZE (A ) (DN/NB):50 MM; SIZE (B)(DN/NB):50 MM; DIMENSIONAL STANDARD:ASTM D2467; MATERIAL:UPVC; ENDCONNECTION (A):PLAIN; END CONNECTION (B):PLAIN; PRESSURE CLASS/SCHEDULE/SDR:80; COATING:NA; LINNING:NA; CERTIFI CATION:NA | each | 10
47 | 2100381256 | VLV,BTRFLY,CONCENTRIC,DN 100,PN 16,WAFER | VALVE, BUTTERFLY, TYPE:CONCENTRIC; SIZE:DN 100; PRESSURE RATING:PN 16; ENDCONNECTION:WAFER END TO SUIT ANSI B16.5; TEMPERATURE OF MEDIA:50DEG; BODY MATERIAL:CS ASTM A216; DISC MATERIAL:SS ASTM A351; SEAT MATERIAL:EPDM; STEM MATERIAL:AISI410; APPLICATION:CHEMICALLY TREATED WATERC; OPERATION:PNEUMATIC; ADDITIONAL INFORMATION:WITH PNEUMATICALLYOPERATED DOUBLE ACTING ROTARY ACTUATOR(ED100+M0-I) AND LIMIT SWITCH (WP TO IP67); IBR CERTICATION:NA | each | 4
48 | 2100419300 | VLV,PNMTC,5/2WAY DBL SOL;1/4IN BSP(F) | VALVE, PNEUMATIC, TYPE:5/2 WAY DOUBLE SOLENOID; MODEL:L12BB452OG00040, SIZE OF VALVE:1/4 INCH BSP(F), WORKING PRESSURE:0-10 BAR, MAKE:ASCO PNEUMATICS, MOUNTING TYPE:BASE PLATE, ADDITIONAL INFORMATION:NUMBER OFPORTS:2; NUMBER OF WAY:5; ELECTRICAL RATING:220 VAC; OPERATION: SPOOLTYPE; COIL:DOUBLE; CONFIGURATION:5/2 WAY; USED IN AB, BC, CD, EF OIL GUNVALVES | each | 5
49 | 2100432553 | SLV INTD;312;KPDS 80/32QFM;KIRLOSKAR | ITEM NAME:SLEEVE INTERMEDIATE; PARTNO:312; MAKE:KIRLOSKAR; MAJOR EQUIPMENT:BLOWER ARE SUMP PUMPPU-E11.1/2; MAJOR EQUIPMENT MODEL:KPDS 80/32 QFM; MAJOR EQUIPMENTMAKE:KIRLOSKAR | each | 2