            Id fan bearing cooling fan
Type                                                                             9-19 NO.5. 6A
[bookmark: _GoBack]KKS                                                                                30HNC21AN002
FLOW                                                                           2262-4901 m3/h
Total Pressure                                                               7182-6400 Pa
Rotate speed                                                                2900 r/min
Power                                                                            15 kw
Current                                                                             25.5 amp
Manufacture by                                            Chengdu power machinery works china
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