Id fan bearing cooling fan

Type                                                                             9-19 NO.5. 6A

KKS                                                                                30HNC21AN002

FLOW                                                                           2262-4901 m3/h

Total Pressure                                                               7182-6400 Pa

Rotate speed                                                                2900 r/min

Power                                                                            15 kw

Current                                                                             25.5 amp

Manufacture by                                            Chengdu power machinery works china